|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **REV** | **DESCRIPTION** | **ECN** | **DATE** | **APPROVED** |
| - | RELEASED | N/A | 2/15/25 | PS |

|  |  |  |
| --- | --- | --- |
| Connector | Column High | Column Low |
| J3 | C1H | C1L |
| C2H | C2L |
| C3H | C3L |
| C4H | C4L |
| J4 | C5H | C5L |
| C6H | C6L |
| C7H | C7L |
| C8H | C8L |
| J5 | C9H | C9L |
| C10H | C10L |
| C11H | C11L |
| C12H | C12L |
| J6 | C13H | C13L |
| C14H | C14L |
| C15H | C15L |
| C16H | C16L |
| J7 | C1H | C1L |
| C2H | C2L |
| C3H | C3L |
| C4H | C4L |
| J8 | C5H | C5L |
| C6H | C6L |
| C7H | C7L |
| C8H | C8L |
| J9 | C9H | C9L |
| C10H | C10L |
| C11H | C11L |
| C12H | C12L |
| J10 | C13H | C13L |
| C14H | C14L |
| C15H | C15L |
| C16H | C16L |

Wire List, Columns

Wire List Rows

|  |  |  |  |
| --- | --- | --- | --- |
| Connector | Row High | Connector | Row Low |
| J3 | R1H | J7 | R1L |
| R2H | R2L |
| J4 | R5H | J8 | R5L |
| R6H | R6L |

Wire List ABus

|  |
| --- |
| Abus Continuities |
| ABus1 HI, ABus2 HI, Abus3 HI & Abus4 HI |
| ABus1 LO, ABus2 LO, Abus3 LO & Abus4 LO |



|  |  |  |  |
| --- | --- | --- | --- |
| Manufacturer | Part Number | Quantity | Description |
| Keysight | 34932T | 1 | Terminal Block for 34932A Multiplexer |
| Any | N/A | 40 | Jumper wires |
| Amphenol Commercial Products | L777SDE09P | 1 | DB9 plug |
| Amphenol Commercial Products | 17E-1724-2-ND | 1 | DB9 back-shell |
| Any | N/A | 18” | Light chain |

Parts List

Picture, without cover.

