|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **REV** | **DESCRIPTION** | **ECN** | **DATE** | **APPROVED** |
| - | RELEASED | N/A | 2/15/25 | PS |

|  |  |  |
| --- | --- | --- |
| Connector | NO | ABusHI |
| J3 | NO1 | ABusHI1 & ABusHI2 |
| NO2 |
| NO3 |
| NO4 |
| NO5 |
| J4 | NO6 |
| NO7 |
| NO8 |
| NO9 |
| NO10 |
| J5 | NO11 |
| NO12 |
| NO13 |
| NO14 |
| NO15 |
| J6 | NO16 |
| NO17 |
| NO18 |
| NO19 |
| NO20 |

Wire List, Normally Open & ABusHI

|  |  |  |
| --- | --- | --- |
| Connector | C | ABusLO |
| J3 | C1 | ABusLO1 & ABusLO2 |
| C2 |
| C3 |
| C4 |
| C5 |
| J4 | C6 |
| C7 |
| C8 |
| C9 |
| C10 |
| J5 | C11 |
| C12 |
| C13 |
| C14 |
| C15 |
| J6 | C16 |
| C17 |
| C18 |
| C19 |
| C20 |

Wire List, Common & ABusLO



|  |  |  |  |
| --- | --- | --- | --- |
| Manufacturer | Part Number | Quantity | Description |
| Keysight | 34938T | 1 | Terminal Block for 34938A Multiplexer |
| Any | N/A | 44 | Wires |
| Amphenol Commercial Products | L777SDE09P | 1 | DB9 plug |
| Amphenol Commercial Products | 17E-1724-2-ND | 1 | DB9 back-shell |
| Any | N/A | 18” | Wire sleeving |

Parts List

Picture, without cover.